## CAT A ERAF P1
ELP/SAI25/ERAF/ Issue 2D |  |  |  | Continuation sheet? |  | Electrical Risk Assessor Company: | [5 empty] | Week Number |  |  | ORF Reference: |  |  |  | If reused, include date from Part 2 of first use: | [6 empty] | Revision:
Select
CAT A Part 1(a) – Task and Task Delivery Method details from the Outage Request Form
ERAF P1 Ref: | Worksite Ref: |  | Requested Start Date & Time |  | Requested End Date & Time |  | OLP Limits |  |  | ELR / Line(s) / ATF / RC |  |  |  | Task Details | [5 empty] | On/Off - Tracking Access Point |  | On / Off / Both |  | Line(s) |  |  | Location
[7 empty] | Select | [19 empty] | M | yd
[7 empty] | From | [14 empty] | Select
To
[7 empty] | From | [14 empty] | Select
To
[7 empty] | From | [14 empty] | Select
To
[7 empty] | From | [14 empty] | Select
To
[7 empty] | From | [14 empty] | Select
To
CAT A Part 1(b) - Electrical sections, lines and limits required for the work | [10 empty] | CAT A Part 1(c) - Overhead Line Permit Along Track Limits
Electrical section(s) required to implement the isolation |  |  |  | Line(s) / ATF |  |  |  | Electrical section limit structures: |  |  | Worksite Ref: |  | Line(s) / ATF / RC |  |  | OLP Along-Track Limits & RoLE | [6 empty] | Test Before Touch Method? |  | Issue at Site of Work? |  | ESSOW Category
[16 empty] | Limit structures: |  |  |  | Type of RoLE at ATL
[8 empty] | From |  | To | [5 empty] | From |  | To |  | From | To
CAT A Part 1(d) - Confirmation of Electrical Safe System of Work (ESSOW) Category A and additional arrangements
Where ESSOW Category L is used, this MUST be authorised by the Responsible Manager of the task being undertaken. | [17 empty] | On/Off Tracking Point (Y/N, N/A, Cat L N/A) |  |  | Travelling (Y/N, N/A, Cat L N/A) |  |  |  | Site of Work (Y/N, N/A)
Confirm the Task(s) are going to be completed using ESSOW Category A? Where ESSOW Category L is used in conjunction with Category A, the relevant area(s) shall be populated with 'Cat L N/A'
Are drawings, diagrams or sketches included as part of this electrical risk assessment? | [20 empty] | (Y/N)
Will the integrity and continuity of existing electrical circuits, including bonding, be affected by the planned tasks? If Yes, describe the measures to be taken to mitigate the hazards in accordance with the requirements of NR/L3/ELP/21085: | [20 empty] | (Y/N / N/A)
Structure Number |  |  | Line(s) | [5 empty] | Mitigation/Temporary bonding arrangements
Is this electrical risk assessment form part of a superseding Earthed Isolation? | [5 empty] | (Y/N) | [6 empty] | If yes, provide ERAF reference number for the superseding Electrical Risk Assessment
Electrical Risk Assessment Form Validation: The ERAS who signs below is responsible for the completion and content of Part 1 of this Electrical Risk Assessment.
Electrical Risk Assessor (ERAS) |  | Prepared and approved for use by: | [7 empty] | If this ERAF is to be reviewed by an ERAR, select the reason below: | [6 empty] | Electrical Risk Assessment Reviewer (ERAR) |  |  | Reviewed by:
|  | Signature: | [17 empty] | Signature:
|  | Sentinel number: | [17 empty] | Sentinel number:
|  | Date: | [17 empty] | Date:

## CAT A ERAF P2
ELP/SAI25/ERAF/ Issue 2D |  |  |  | Continuation sheet? |  | Lead Earthed Isolation Provider | [5 empty] | Week Number |  |  | ERAF Reference: |  |  |  | If reused, include date from Part 2 of first use: | [6 empty] | Revision:
Select
CAT A Part 2(a) – Task and Task Delivery Method details from CAT A ERAF Part 1(s)
Are you the person representing the lead Earthed Isolation provider identified on the IPF, who will complete Part 2 of this Electrical Risk Assessment Form? If No, send the approved Part 1 ERAF to the lead Earthed Isolation provider and there is NO FURTHER ACTION required on this form. If Yes, continue below. | [20 empty] | (Y/N)
Part 2 of this CAT A ERAF can only be completed if all tasks will be undertaken using ESSOW CAT A. Part 2 of the Full ERAF MUST be completed if ESSOW B or D is required.
ERAF P1 Ref: | Worksite Ref: |  | Requested Start Date & Time |  | Requested End Date & Time |  | OLP Limits |  |  | ELR / Line(s) / ATF / RC |  |  |  | Task Details | [5 empty] | On/Off - Tracking Access Point |  | On / Off / Both |  | Line(s) |  |  | Location
[7 empty] | Select | [19 empty] | M | yd
[7 empty] | From | [14 empty] | Select
To
[7 empty] | From | [14 empty] | Select
To
[7 empty] | From | [14 empty] | Select
To
[7 empty] | From | [14 empty] | Select
To
[7 empty] | From | [14 empty] | Select
To
CAT A Part 2(b) - Electrical sections, lines and limits published in the IPF | [10 empty] | CAT A Part 2(c) - Overhead Line Permit Along Track Limits
Electrical section(s) required to implement the isolation |  |  |  | Line(s) / ATF |  |  |  | Electrical section limit structures: |  |  | Worksite Ref: |  | Line(s) / ATF / RC |  |  | OLP Along-Track Limits & RoLE | [6 empty] | Test Before Touch Method? |  | Issue at Site of Work? |  | ESSOW Category
[16 empty] | Limit structures: |  |  |  | Type of RoLE at ATL
[8 empty] | From |  | To | [5 empty] | From |  | To |  | From | To
CAT A Part 2(d) - Confirmation of Electrical Safe System of Work (ESSOW) Category A and additional arrangements
Are drawings, diagrams or sketches included as part of this electrical risk assessment? | [20 empty] | (Y/N)
Will the integrity and continuity of existing electrical circuits, including bonding, be affected by the planned tasks? If Yes, describe the measures to be taken to mitigate the hazards in accordance with the requirements of NR/L3/ELP/21085: | [20 empty] | (Y/N / N/A)
Structure Number |  |  | Line(s) | [5 empty] | Mitigation/Temporary bonding arrangements
Is this electrical risk assessment form part of a superseding Earthed Isolation? | [5 empty] | (Y/N) | [6 empty] | If yes, provide ERAF reference number for the superseding Electrical Risk Assessment
Have there been changes to the content in this CAT A ERAF from Part 1? (Combining ERAFs does not constitute as a change) (If Yes, detail below the changes and up revision this CAT A ERAF) | [20 empty] | (Y/N)
Description of changes:
Electrical Risk Assessment Form Validation: The ERAS who signs below accepts overall accountability for this Electrical Risk Assessment and ESSoW.
Electrical Risk Assessor (ERAS) |  | Prepared and approved for use by: | [7 empty] | If this ERAF is to be reviewed by an ERAR, select the reason below: | [6 empty] | Electrical Risk Assessment Reviewer (ERAR) |  |  | Reviewed by:
|  | Signature: | [17 empty] | Signature:
|  | Sentinel number: | [17 empty] | Sentinel number:
|  | Date: | [17 empty] | Date:

## FULL ERAF P1
ELP/SAI25/ERAF/ Issue 2D |  |  |  | Continuation sheet? |  | Electrical Risk Assessor Company: | [5 empty] | Week Number |  |  |  |  | ORF Reference: |  |  |  |  | If reused, include date from Part 2 of first use: | [7 empty] | Revision:
Select
FULL Part 1(a) – Task and Task Delivery Method details from the Outage Request Form
ERAF P1 Ref: | Worksite Ref: |  | Requested Start Date & Time |  | Requested End Date & Time |  | OLP Limits |  |  | ELR / Line(s) / ATF / RC |  |  |  |  | Task Details | [7 empty] | On/Off - Tracking Access Point |  |  | On / Off / Both |  | Line(s) |  |  | Location
[7 empty] | Select | [23 empty] | M | yd
[7 empty] | From | [18 empty] | Select
To
[7 empty] | From | [18 empty] | Select
To
[7 empty] | From | [18 empty] | Select
To
[7 empty] | From | [18 empty] | Select
To
[7 empty] | From | [18 empty] | Select
To
FULL Part 1(b) - Electrical sections, lines and limits required for the work | [10 empty] | FULL Part 1(c) - Overhead Line Permit Along Track Limits
Electrical section(s) required to implement the isolation |  |  |  | Line(s) / ATF |  |  |  | Electrical section limit structures: |  |  | Worksite Ref: |  | Line(s) / ATF / RC | [5 empty] | OLP Along-Track Limits & RoLE | [7 empty] | Test Before Touch Method? |  | Issue at Site of Work? |  | ESSOW Category
[19 empty] | Limit structures: |  |  |  | Type of RoLE at ATL
[8 empty] | From |  | To | [8 empty] | From |  | To |  | From |  | To
FULL Part 1(d) – Selection of the Electrical Safe System of Work
Electrical Safe System of Work (ESSoW) Hierarchy and OTP traveling under Live
Where ESSOW Category L is used, this MUST be authorised by the Responsible Manager of the task being undertaken. Where ESSOW Category L is used in conjunction with category A, the relevant area(s) shall be populated with 'Cat L N/A' | [20 empty] | On/Off Tracking Point (Y/N, N/A, Cat L N/A) |  |  |  | Travelling (Y/N, N/A, Cat L N/A) |  |  |  | Site of Work (Y/N, N/A)
1. Can the task be reasonably completed using ESSOW Category A?
2. If the answer to Question 1 is ‘No’, can the task be reasonably completed using ESSOW Category B?
3. If the answer to Question 2 is ‘No’, can the task be reasonably completed using ESSOW Category D? (If OTP requires On/Off Tracking/Travelling under Live, obtain confirmation from the E&PME this is supported at this stage of the planning process.)
4. If the answer to Question 2 is ‘No’, can the task be reasonably completed using ESSOW Category E?
5. Will an OLP be issued to enable work on a return conductor with the corresponding OLE remaining Live in accordance with the requirements of ELP/SAI25 Module 7?
If the answer to Question 4 or Question 5 is ‘No’, the task shall be re-planned.
If the selected ESSoW category of work is B, D or E* for the 'RRAP', 'Travelling' and/or 'Site of Work', complete FULL Part 1(e) to provide the supporting justification (* Only complete FULL Part 1(e) if the task is not on the approved list of ESSoW category E tasks)
Is an Earthed Isolation required? | [28 empty] | (Y/N)
Is this electrical risk assessment form part of a superseding Earthed Isolation? | [5 empty] | (Y/N) | [6 empty] | If yes, provide ERAF reference number for the superseding Electrical Risk Assessment
Are any of the electrical sections subject to reduced wire height restrictions? (If Yes, check the machine has been suitably assessed and granted location specific authorisation by the E&PME) | [28 empty] | (Y/N)
Will a site visit (S) or virtual site visit (V) be required to confirm any details of Part 1 of the Electrical Risk Assessment Form or to complete the electrical risk assessment in Appendix A? (V) Virtual, (S) Site or (N) Not required | [28 empty] | (V/S/V&S/N)
Will a person with a detailed understanding of the task or task delivery method to be carried out accompany the ERAS on the site visit or virtual site visit? | [28 empty] | (Y/N) or N/A
(If No, provide confirmation below as to how the Electrical Risk Assessor will be able to appropriately consider the work content as part of the electrical risk assessment)
Will the integrity and continuity of existing electrical circuits, including bonding, be affected by the planned tasks? If Yes, describe the measures to be taken to mitigate the hazards in accordance with the requirements of NR/L3/ELP/21085: | [28 empty] | (Y/N or N/A)
Structure Number |  |  | Line(s) | [5 empty] | Mitigation/Temporary bonding arrangements
Complete the electrical risk assessment in draft in Appendix A, identifying the residual electrical hazards and proposed Electrical Risk Control Measures
With the information available at this stage, can the work be completed safely with the selected ESSOW and proposed Electrical Risk Control Measures? | [28 empty] | (Y/N)
FULL Part 1(e) – Justification (To be completed by the Electrical Risk Assessor. Where relevant, Part 1(e) shall be completed to separately record the justification for the ESSoW at the Site of Work and the ESSoW for travelling to the Site Work) - (Complete for any ESSOW other than Category A)
Justification Elements | [5 empty] | On/Off Tracking Point (Y/N, N/A, Cat L N/A) |  | Travelling (Y / N / N/A) |  | Site of Work (Y / N / N/A) | Justification | [7 empty] | Elements to consider
Nature of the work | Does the equipment need to be Live to complete the work? | [17 empty] | - Testing for example: Section proving electrical section PA1
Economic impact | Does a lack of all line Earthed Isolation opportunities prevent the work from being carried out under category A? | [17 empty] | Does the available access arrangements mean that it is not reasonable to schedule the work to allow completion under category A? Is it unreasonable, or not possible, to postpone the work to allow completion when the access required to allow completion under Category A is available? Note 1: In many cases, the lack of available infrastructure access and the inability to postpone the work until ESSoW Category A can be implemented, will form the basis of the justification case. Note 2: The ERAS can consult the Route Isolation Planner to confirm the available access arrangements if clarification is required. Note 3: It is important to demonstrate that consideration was given to confirming if it is possible to complete the work under ESSoW Category A within the available access arrangements and to record the justification where it is not deemed to be achievable within the available access arrangements.
Safety impact | Are the benefits of adopting ESSoW category A outweighed by the risks created through implementing an all line Earthed Isolation? | [17 empty] | Workforce Safety for example: - Does ESSoW category A lead to more driving, more ‘On or Near the Line’ working and/or more manual handling? Passenger Safety for example: - Overcrowding; - Public disorder/abusive behaviour towards workforce; - Public stranded on sealed trains etc. Safety of wider infrastructure for example: - The non-availability of ESSoW category A within suitable timescales may reduce access times leading to increased risk of infrastructure failures, operational incidents and close calls etc. - The time taken to implement ESSoW category A may reduce access times leading to increased risk of infrastructure failures, operational incidents and close calls etc.
Electrical Risk Assessment Form Validation: The ERAS who signs below is responsible for the completion and content of Part 1 of this Electrical Risk Assessment.
Electrical Risk Assessor (ERAS) |  | Prepared and approved for use by: | [7 empty] | If this ERAF is to be reviewed by an ERAR, select the reason below: | [9 empty] | Electrical Risk Assessment Reviewer (ERAR) |  |  | Reviewed by:
|  | Signature: | [20 empty] | Signature:
|  | Sentinel number: | [20 empty] | Sentinel number:
|  | Date: | [20 empty] | Date:
Appendix A - Electrical risk assessment (to be completed by the Electrical Risk Assessor)
Risk assessment
Residual Electrical Hazard / Abutting Live Conductors | [17 empty] | Electrical Risk Control Measure(s) | [5 empty] | Inspection required? (Yes or No) |  | Notes (including the frequency of inspection where required) |  |  |  |  | Is the risk from this hazard acceptable
Worksite Ref: | Description | [5 empty] | Line | [6 empty] | From / At |  | To
[31 empty] | Yes | No

## FULL ERAF P2
ELP/SAI25/ERAF/ Issue 2D |  |  |  | Continuation sheet? |  | Lead Earthed Isolation Provider | [6 empty] | Week Number |  |  |  |  | ERAF Reference: |  |  |  |  | If reused, include date from Part 2 of first use: | [7 empty] | Revision:
Select
FULL Part 2(a) – Task and Task Delivery Method details from ERAF Part 1(s)
Are you the person representing the lead Earthed Isolation provider identified on the IPF, who will complete Part 2 of this Electrical Risk Assessment Form? If No, send the approved Part 1 ERAF to the lead Earthed Isolation provider and there is NO FURTHER ACTION required on this form. If Yes, continue below. | [27 empty] | (Y/N)
ERAF P1 Ref: | Worksite Ref: |  | Requested Start Date & Time |  | Requested End Date & Time |  | OLP Limits |  |  | ELR / Line(s) / ATF / RC | [5 empty] | Task Details | [7 empty] | On/Off - Tracking Access Point |  |  | On / Off / Both |  | Line(s) |  |  | Location
[7 empty] | Select | [24 empty] | M | yd
[7 empty] | From | [19 empty] | Select
To
[7 empty] | From | [19 empty] | Select
To
[7 empty] | From | [19 empty] | Select
To
[7 empty] | From | [19 empty] | Select
To
[7 empty] | From | [19 empty] | Select
To
FULL Part 2(b) - Electrical sections, lines and limits published in the IPF | [11 empty] | FULL Part 2(c) - Overhead Line Permit Along Track Limits
Electrical section(s) required to implement the isolation |  |  |  | Line(s) / ATF |  |  |  | Electrical section limit structures: |  |  |  | Worksite Ref: |  | Line(s) / ATF / RC | [5 empty] | OLP Along-Track Limits & RoLE | [7 empty] | Test Before Touch Method? |  | Issue at Site of Work? |  | ESSOW Category
[20 empty] | Limit structures: |  |  |  | Type of RoLE at ATL
[8 empty] | From |  | To | [9 empty] | From |  | To |  | From |  | To
FULL Part 2(d) – On/Off Tracking or/and Travelling under Live ((if applicable) to be completed by the Electrical Risk Assessor with support from the Work Requestor)
Worksite Ref: | Access location (ELD, Mileage, OLE Structure Number) |  |  |  | What is the minimum wire height at the access? (mm) |  |  |  | Is the approach to track level at the Access (on-tracking) location? | [5 empty] | What is the minimum wire height and location through the travelled distance? (mm) | [7 empty] | Egress location (ELD, Mileage, OLE Structure Number) |  |  |  |  | What is the minimum wire height at the Egress? (mm)
Worksite Ref: | Machine Type |  |  |  |  | Machine Supplier |  |  |  |  | 12 Digit Number |  |  |  | ECC reference |  |  |  | MLD (Y/N) |  | OTP Max Height (mm) |  |  | Standing Surface Max Height (mm) |  |  |  | Comments
Worksite Ref: | ELR |  |  | Lines Affected | [13 empty] | Start Mileage |  |  |  | End Mileage |  |  |  | Start OLE Structure |  |  |  | End OLE Structure
Electrification and Plant Maintenance Engineer or Delegated Authority: I confirm that I have reviewed and approve the on/off tracking and/or travelling activities stated above.
Endorsed by: | [6 empty] | Signature: | [7 empty] | Sentinel number: | [10 empty] | Date:
Have there been changes to the content in this ERAF from Part 1? (Combining ERAFs does not constitute as a change) (If Yes, detail below the changes and up revision this ERAF) | [25 empty] | (Y/N)
Description of changes:
FULL Part 2(e) – Confirmed Electrical Risk Control Measures
Finalise and record risks and associated Electrical Risk Control Measures in appended risk assessment, append the referenced generic risk assessment or existing risk assessment
Are the required Electrical Risk Control Measures identified and recorded in the appended Electrical Risk Control Measures Appendix A? | [29 empty] | (Y/N)
Are drawings, diagrams or sketches included as part of this electrical risk assessment? | [29 empty] | (Y/N)
Is there a requirement to inspect the Electrical Risk Control Measures? If 'Yes', provide the details in the Electrical Risk Control Measures table in Appendix A. | [29 empty] | (Y/N)
Will the integrity and continuity of existing electrical circuits, including bonding, be affected by the planned tasks? If Yes, describe the measures to be taken to mitigate the hazards in accordance with the requirements of NR/L3/ELP/21085: | [29 empty] | (Y/N or N/A)
Structure Number |  |  | Line(s) | [5 empty] | Mitigation/Temporary bonding arrangements
Has the site visit been waived? (If Yes, and this is not ESSoW Category A, provide a justification of why a site visit is not required below, which shall be reviewed by an ERAR.) | [29 empty] | (Y/N or N/A)
Can the work be completed safely with the proposed Electrical Safe System of Work and Electrical Risk Control Measures in place? (If No, detail below the action required to replan the task) | [29 empty] | (Y/N)
Short notice Earthed Isolations: Guide questions - This section shall be completed for short notice Earthed Isolations only in accordance with the requirements of NR/L3/ELP/SAI25 module 2
Has the appropriate Electrical Safe System of Work been selected from the hierarchy in accordance with the requirements of NR/L3/ELP/SAI25 module 2? | [29 empty] | (Y/N)
Have all residual electrical hazards e.g. abutting live conductors and residual electrical hazard been identified? | [29 empty] | (Y/N)
Are the Electrical Risk Control Measures identified suitable and sufficient? | [29 empty] | (Y/N)
Are the necessary competences and resources available to complete the task(s) required? | [29 empty] | (Y/N)
Electrical Risk Assessment Form Validation: The ERAS who signs below accepts overall accountability for this Electrical Risk Assessment and ESSoW.
Electrical Risk Assessor (ERAS) |  | Prepared and approved for use by: | [7 empty] | If this ERAF is to be reviewed by an ERAR, select the reason below: | [10 empty] | Electrical Risk Assessment Reviewer (ERAR) |  |  | Reviewed by:
|  | Signature: | [21 empty] | Signature:
|  | Sentinel number: | [21 empty] | Sentinel number:
|  | Date: | [21 empty] | Date:
Appendix A - Electrical risk assessment (to be completed by the Electrical Risk Assessor)
Risk assessment
Residual Electrical Hazard / Abutting Live Conductors | [18 empty] | Electrical Risk Control Measure(s) | [5 empty] | Inspection required? (Yes or No) |  | Notes (including the frequency of inspection where required) |  |  |  |  | Is the risk from this hazard acceptable
Worksite Ref: | Description | [5 empty] | Line | [7 empty] | From / At |  | To
[32 empty] | Yes | No

## Appendix B - Site Walkout
ELP/SAI25/ERAF/ Issue 2D | [5 empty] | Lead Earthed Isolation Provider |  |  |  | Week Number |  | ERAF Reference: | Revision:
Appendix B - Relevant information for the site walkout Completion of Appendix B is not a requirement for the authorisation of the Electrical Risk Assessment Form
DEP Details
Structure number | Line(s) |  | OLE (CME/AE/CJ) | RC (AE) | ATF (CME/AE/CJ) | EAP intact |  | DEP bond Intact |  | Comments
Bonding continuation affected by the works
Structure number | Line(s) | [5 empty] | Mitigation / Tempoary Arrangements
Manual lineside Disconnectors to be operated
Disconnector designation |  | Structure number | Line |  |  |  | Open / Close / Alternate / Earth |  | Key type and location |  | Access / location

## Late Change Authorisation
ELP/SAI25/ERAF/ Issue 2D | [6 empty] | Nominated Earthed Isolation Provider |  |  | Week Number |  | ERAF Reference:
Change required during implementation (To be authorised by the Electrical Risk Assessor)
List of authorised changes: NOTE: This late change form should only be used as a last resort before cancelling any work taking place.
Original Electrical Risk Assessment specifics |  |  |  | Proposed change |  |  |  |  | Justification for the change
Will there be any change to on/off tracking or travelling under Live? (If Yes complete below) | [10 empty] | (Y/N)
At the location for On-Tracking, is the approach to track level? | [10 empty] | (Y/N)
At the location for Off-Tracking, is the exit from track level? | [10 empty] | (Y/N)
What is the minimum wire height at the access? (mm) | [7 empty] | Location (ELD, Mileage, OLE Structure Number)
What is the minimum wire height through the distance travelling under LIVE? (mm) | [7 empty] | Location (ELD, Mileage, OLE Structure Number)
Machine Type |  | Machine Supplier |  | 12 Digit Number | ECC reference | MLD (Y/N) | OTP Max Height (mm) |  | Standing Surface Max Height (mm) |  | Comments
ELR | Lines Affected |  |  |  | Start Mileage |  | End Mileage |  | Start OLE Structure |  |  | End OLE Structure
Electrification and Plant Maintenance Engineer or Delegated Authority: I confirm that I have reviewed and approve the on/off tracking and/or travelling activities stated above.
Endorsed by: |  |  | Authority number: |  |  |  | Sentinel number: |  |  |  | Date:
Change approval by ERAS
Approved by ERAS (Name): | [6 empty] | Authority Number:
Change checked by ERAR
Approved by ERAR (Name): | [6 empty] | Authority Number:

## Appendix A - Continuation
ELP/SAI25/ERAF/ Issue 2D |  | Continuation sheet No |  | Nominated Earthed Isolation Provider |  | Week Number |  |  | ERAF Reference: |  | If reused, include date from Part 2 of first use: |  |  | Revision:
of
Appendix A - Electrical risk assessment (to be completed by the Electrical Risk Assessor)
Risk assessment
Residual Electrical Hazard / Abutting Live Conductors | [9 empty] | Electrical Risk Control Measure(s) |  | Inspection required? (Yes or No) | Notes (including the frequency of inspection where required) |  | Is the risk from this hazard acceptable
Worksite No | Description |  |  |  | Line |  | From / At | To
[15 empty] | Yes | No

## Part 2(a) Continuation
ELP/SAI25/ERAF/ Issue 2D |  |  | Continuation sheet No |  |  | Nominated Earthed Isolation Provider |  |  | Week Number |  | ERAF Reference: | If reused, include date from Part 2 of first use: |  |  |  | Revision:
of
Continuation of Part 2(a) – Electrical Risk Assessment Details
ERAF P1 Ref: | Worksite Ref: | Requested Start Date & Time |  |  | Requested End Date & Time |  | OLP Limits | Line(s) |  | Task Details |  |  | On/Off - Tracking Access Point | On / Off / Both | Line(s) |  | Location
[7 empty] | Select | [9 empty] | M | yd
[7 empty] | From | [6 empty] | Select
To
[7 empty] | From | [6 empty] | Select
To
[7 empty] | From | [6 empty] | Select
To
[7 empty] | From | [6 empty] | Select
To
[7 empty] | From | [6 empty] | Select
To
[7 empty] | From | [6 empty] | Select
To
[7 empty] | From | [6 empty] | Select
To
[7 empty] | From | [6 empty] | Select
To
[7 empty] | From | [6 empty] | Select
To
[7 empty] | From | [6 empty] | Select
To
[7 empty] | From | [6 empty] | Select
To
[7 empty] | From | [6 empty] | Select
To
[7 empty] | From | [6 empty] | Select
To
[7 empty] | From | [6 empty] | Select
To
[7 empty] | From | [6 empty] | Select
To
[7 empty] | From | [6 empty] | Select
To

## Part 2(b)&(c) Continuation
ELP/SAI25/ERAF/ Issue 2D | Continuation sheet No |  | Nominated Earthed Isolation Provider |  |  |  | Week Number |  | ERAF Reference: |  |  | If reused, include date from Part 2 of first use: |  |  |  |  | Revision:
of
Continuation Part 2(b) - Electrical sections, lines affected and limits provided in the IPF | [5 empty] | Continuation Part 2(c) - Overhead Line Permit Along Track Limits
Electrical section(s) required to implement the isolation | Line(s) / ATF |  |  | Electrical section limit structures: |  | Worksite Ref: |  | Line(s) / ATF / RC |  | OLP Along-Track Limits & RoLE |  |  |  |  | Test Before Touch Method? | Issue at Site of Work? |  | ESSOW Category
[10 empty] | Limit structures: |  |  | Type of RoLE at ATL
|  |  |  | From | To |  |  |  |  | From | To |  | From | To