## ERAF
ELP/SAI25/ERAF (Issue 02B) - 11 Nov 24 |  | Possession ref: |  | Outage Request Form ref: |  | Work site ref: |  | Electrical Risk Assessment Form ref: |  |  |  | Revision
If reused, include date from Part 2 of first use:
Part 1
Part 1(a) – Work assessment and categorisation (To be completed by the Electrical Risk Assessor)
Work Requestor name: | [6 empty] | Work Requestor contact number:
Details of Planned Work
Work start date and time: |  |  |  |  | Work end date and time: | [5 empty] | Week Number:
Nature of planned task(s), task delivery method(s) and access requirements | [5 empty] | (Note: Add references of relevant SSoW and other documents detailing the work to be carried out)
Access and egress arrangements
On-tracking point(s) | [5 empty] | Off-tracking point(s)
Electrical sections, lines affected and associated limits
OLP Along-track limits required |  |  |  | Electrical section(s) required to implement the isolation(s) |  |  | Line(s) affected |  |  | Electrical section limits
From |  | To | [7 empty] | Limit structures:
(Line, Structure Number, Miles, Chains) |  | (Line, Structure Number, Miles, Chains) | [7 empty] | From |  | To
Nominated Earthed Isolation provider:
Is this electrical risk assessment form part of a superseding Earthed Isolation? |  |  |  | (Y/N) |  | If yes, provide reference number of related Electrical Risk Assessment Form(s)
Electrical Safe System of Work (ESSoW) Hierarchy and OTP traveling under Live
NOTE: Where ESSOW Category L is used in conjunction with another ESSOW from the below hierarchy, the relevant area(s) shall be populated with 'N/A (ESSOW Cat L)' | [6 empty] | RRAP (Y/N or N/A) |  | Travelling (Y/N or N/A) |  | Site of Work (Y/N or N/A)
1. Can the task be reasonably completed using Category A?
Y
2. If the answer to Question 1 is ‘No’, can the task be reasonably completed using category B? | [14 empty] | N
N/A
3. If the answer to Question 2 is ‘No’, can the task be reasonably completed using category D? (If a machine requires On/Off Tracking or/and Travelling under Live, obtain confirmation from the E&PME that this is supported at this stage of the planning process.) | [14 empty] | N/A (ESSOW Cat L)
4. If the answer to Question 2 is ‘No’, can the task be reasonably completed using category E?
5. Will an OLP be issued to enable work on a return conductor with the corresponding OLE remaining Live in accordance with the requirements of ELP/SAI25 Module 7?
If the answer to Question 4 or Question 5 is ‘No’, the task shall be re-planned.
If the selected ESSoW category of work is B, D or E* for the 'RRAP', 'Travelling' and/or 'Site of Work', complete Part 1(b) to provide the supporting justification (* Only complete Part 1(b) if the task is not on the approved list of ESSoW category E tasks)
Is an Earthed Isolation required? | [10 empty] | (Y/N)
Site visit and electrical risk assessment
Are any of the electrical sections subject to reduced wire height restrictions? (If Yes, check the machine has been suitably assessed and granted location specific authorisation by the E&PME) | [10 empty] | (Y/N)
Will a site visit (S) or virtual site visit (V) be required to confirm any details of Part 1 of the Electrical Risk Assessment Form or to complete the electrical risk assessment in Appendix A? (V) Virtual, (S) Site or (N) Not required | [10 empty] | (V/S/V&S/N)
Will a person with a detailed understanding of the work to be carried out accompany the ERAS on the site visit or virtual site visit? | [10 empty] | (Y/N) or N/A
(If No, provide confirmation below as to how the Electrical Risk Assessor will be able to appropriately consider the work content as part of the electrical risk assessment)
Complete the appended electrical risk assessment in draft in Appendix A, identifying the relevant residual electrical hazards and proposed Electrical Risk Control Measures
With the information available at this stage, can the work be completed safely with the selected ESSOW and proposed Electrical Risk Control Measures? | [10 empty] | (Y/N)
(If No, the work will need to be re-planned and a different ESSoW shall be selected)
Part 1(b) – Justification (To be completed by the Electrical Risk Assessor. Where relevant, Part 1(b) shall be completed to separately record the justification for the ESSoW at the Site of Work and the ESSoW for travelling to the Site Work) - (Complete for any ESSOW other than Category A)
Justification Elements |  |  | RRAP (Y / N / N/A) | Travelling (Y / N / N/A) | Site of Work (Y / N / N/A) | Elements to consider
Nature of the work | Does the equipment need to be Live to complete the work? |  |  |  |  | - Testing for example: Section B74
Economic impact | Does a lack of all line Earthed Isolation opportunities prevent the work from being carried out under category A? |  |  |  |  | - Does the available access arrangements mean that it is not reasonable to schedule the work to allow completion under category A? - Is it unreasonable, or not possible, to postpone the work to allow completion when the access required to allow completion under Category A is available? Note 1: In many cases, the lack of available infrastructure access and the inability to postpone the work until ESSoW Category A can be implemented, will form the basis of the justification case. Note 2: The ERAS can consult the Route Isolation Planner to confirm the available access arrangements if clarification is required. Note 3: It is important to demonstrate that consideration was given to confirming if it is possible to complete the work under ESSoW Category A within the available access arrangements and to record the justification where it is not deemed to be achievable within the available access arrangements.
Safety impact | Are the benefits of adopting ESSoW category A outweighed by the risks created through implementing an all line Earthed Isolation? |  |  |  |  | Workforce Safety for example: - Does ESSoW category A lead to more driving, more ‘On or Near the Line’ working and/or more manual handling? Passenger Safety for example: - Overcrowding; - Public disorder/abusive behaviour towards workforce; - Public stranded on sealed trains etc. Safety of wider infrastructure for example: - The non-availability of ESSoW category A within suitable timescales may reduce access times leading to increased risk of infrastructure failures, operational incidents and close calls etc. - The time taken to implement ESSoW category A may reduce access times leading to increased risk of infrastructure failures, operational incidents and close calls etc.
| Justification element |  |  | Justification and related detail
RRAP
Travelling
Site of Work | [14 empty] | Work encroaching within 2.75m of Live OLE
Electrical Risk Assessment Form Part 1 – Validation: The ERAS who signs below is responsible for the full completion and content of Part 1 of this ERAF. | [14 empty] | On/Off Tracking/Travelling under Live (Not Category L)
Electrical Risk Assessor (ERAS) | Prepared by: |  |  |  | If this ERAF is to be reviewed by an ERAR, select the reason below: |  |  | Electrical Risk Assessment Reviewer (ERAR) | Reviewed by: | [5 empty] | Category E work - Not on the Category E live working list
| Signature: | [7 empty] | Signature: | [5 empty] | Site Visit being waived
| Sentinel number: | [7 empty] | Sentinel number: | [5 empty] | ERAF Reused (Less than 12 months from initial use)
| Date: | [7 empty] | Date: | [5 empty] | None of the above - Request from ERAS
ELP/SAI25/ERAF (Issue 02B) - 11 Nov 24 |  | Possession ref: |  | Outage Request Form ref: |  | Work site ref: |  | Electrical Risk Assessment Form ref: |  |  |  | Revision
Part 2 - Completed as close to the Earthed Isolation as possible
Part 2(a) – Implementation details (To be completed by the Electrical Risk Assessor)
Complete only if different from that listed in Part 1
Details of Planned Work
Work Requestor name: | [6 empty] | Work Requestor contact number:
Details of Planned Work
Work start date and time: |  |  |  |  | Work end date and time: | [5 empty] | Week Number:
Nature of planned task(s), task delivery method(s) and access requirements | [5 empty] | (Note: Add references of relevant SSoW and other documents detailing the work to be carried out)
Access and egress arrangements
On-tracking point(s) | [5 empty] | Off-tracking point(s)
Electrical sections, lines affected and associated limits (Complete only if different from that listed in Part 1)
OLP Along-track limits required |  |  |  | Electrical section(s) required to implement the isolation(s) |  |  | Line(s) affected |  |  | Electrical section limits
From |  | To | [7 empty] | Limit structures:
(Line, Structure Number, Miles, Chains) |  | (Line, Structure Number, Miles, Chains) | [7 empty] | From |  | To
Nominated Earthed Isolation provider:
Part 2(b) – On/Off Tracking or/and Travelling under Live ((if applicable) to be completed by the Electrical Risk Assessor with support from the Work Requestor)
Will there be any on/off tracking or travelling under Live? (If the answer is No continue to 2(c), If the answer is Yes complete 2(b)) | [10 empty] | (Y/N)
At the location for On-Tracking stated in 1(a) or 2(a), is the approach to track level? | [10 empty] | (Y/N)
At the location for Off-Tracking stated in 1(a) or 2(a), is the exit from track level? | [10 empty] | (Y/N)
What is the minimum wire height at the access? (mm) | [6 empty] | Location (ELD, Mileage, OLE Structure Number)
What is the minimum wire height through the distance travelling under LIVE? (mm) | [6 empty] | Location (ELD, Mileage, OLE Structure Number)
Machine Type |  | Machine Supplier |  | 12 Digit Number | ECC reference | MLD (Y/N) | OTP Max Height (mm) |  | Standing Surface Max Height (mm) |  | Comments
ELR | Lines Affected |  |  |  | Start Mileage |  | End Mileage |  | Start OLE Structure |  | End OLE Structure
Electrification and Plant Maintenance Engineer or Delegated Authority: I confirm that I have reviewed and approve the on/off tracking and/or travelling activies stated above.
Endorsed by: |  |  |  | Signature: |  |  | Sentinel number: |  |  |  | Date:
Part 2(c) – Electrical Safety Document details (to be completed by the Electrical Risk Assessor)
COSS (OLP) Name |  | OLP along-track limit structures: |  | Line(s) / ATF / RC |  |  | Issue at Site of Work? | Are Test Before Touch actions required? | Work content
|  | From | To
Site of Work details (Description of the Site of Work, Site of Work boundaries including vertical boundary)
Part 2(d) – Confirmed Electrical Risk Control Measures
Finalise and record risks and associated Electrical Risk Control Measures in appended risk assessment, append the referenced generic risk assessment or existing risk assessment
Are the required Electrical Risk Control Measures identified and recorded in the appended Electrical Risk Control Measures Appendix A? | [10 empty] | (Y/N)
Are drawings, diagrams or sketches included as part of this electrical risk assessment? | [10 empty] | (Y/N)
Is there a requirement to inspect the Electrical Risk Control Measures? If 'Yes', provide the details in the Electrical Risk Control Measures table in Appendix A. If 'No, provide justification below: | [10 empty] | (Y/N)
Will the integrity and continuity of existing electrical circuits, including bonding, be affected by the planned tasks? If Yes, describe the measures to be taken to mitigate the hazards in accordance with the requirements of NR/L3/ELP/21085: | [10 empty] | (Y/N or N/A)
Has the site visit been waived? (If Yes, and this is not ESSoW Category A, provide a justification of why a site visit is not required below, which shall be reviewed by an Electrical Risk Assessment Reviewer.) NOTE: A site visit shall not be waived for On-Track Plant activites as specified in NR/L2/RMVP/0200/P501. | [10 empty] | (Y/N)
Can the work be completed safely with the proposed Electrical Safe System of Work and Electrical Risk Control Measures in place? (If No, detail below the action required to replan the task) | [10 empty] | (Y/N)
Short notice Earthed Isolations: Guide questions - This section shall be completed for short notice Earthed Isolations only in accordance with the requirements of NR/L3/ELP/SAI25 module 2
Has the appropriate Electrical Safe System of Work been selected from the hierarchy in accordance with the requirements of NR/L3/ELP/SAI25 module 2? | [10 empty] | (Y/N)
Have all electrical hazards and residual electrical hazard been identified? | [10 empty] | (Y/N)
Are the Electrical Risk Control Measures identified suitable and sufficient? | [10 empty] | (Y/N)
Are the necessary competences and resources available to complete the task(s) required? | [10 empty] | (Y/N)
Electrical Risk Assessment Form Approval: The ERAS who signs Part 2 accepts overall accountability for this Electrical Risk Assessment and ESSoW.
Prepared and approved for use by: |  |  |  |  | If this ERAF is to be reviewed by an ERAR, select the reason below: |  |  | Reviewed by:
Electrical Risk Assessor (ERAS) | Signature: | [6 empty] | Electrical Risk Assessment Reviewer (ERAR) | Signature:
| Sentinel number: | [7 empty] | Sentinel number:
| Date: | [7 empty] | Date:
Appendix A - Electrical risk assessment (to be completed by the Electrical Risk Assessor)
Risk assessment guidance
1 | Having selected the ESSoW category of Work that will be applied, identify all of the residual electrical hazards that remain. (Even when applying category A there could be still be the possibility that persons may accidentally stray out of the area covered by the OLP.) Please refer to NR/L3/ELP/SAI25 module 2 for more information.
2 | List the identified residual electrical hazards in the risk assessment schedule.
3 | If any risk level remains ‘unacceptable’, even with the proposed additional control in place, the work shall not proceed. The planning of the work shall be re-evaluated to facilitate delivery enabling a suitable level of risk mitigation.
Scoring guidance
How likely is it that compliance with the specified restrictions for the 2.75 m zone, Live zone will be achieved?
Likely | There are sufficient controls in place to achieve this, and either all of them would need to fail, or a person would have to deliberately breach the controls | [9 empty] | Acceptable
Unlikely | There are insufficient controls in place to achieve this, and a simple misunderstanding, or a person experiencing a momentary distraction or lapse of attention could cause them to fail | [9 empty] | Unacceptable
Risk assessment
Hazard ID | Residual Electrical Hazard | [5 empty] | Electrical Risk Control Measure(s) |  | Inspection required? (Yes or No) | Notes (including the frequency of inspection where required) |  |  | Is the risk from this hazard acceptable
| Description |  | Line |  | From / At | To | [6 empty] | Yes | No
1
2
3
4
5
6
7
8
9
10
11
12
13
Appendix B - Relevant information for the site walkout Completion of Appendix B is not a requirement for the authorisation of the Electrical Risk Assessment Form
DEP Details
Structure number | Line(s) |  |  | OLE (CME/AE/CJ) | RC (AE) | ATF (CME/AE/CJ) | EAP intact | DEP bond Intact | Comments
Bonding affected by the works
Structure number | Line(s) |  |  |  |  | Description
Manual lineside Disconnectors to be operated
Disconnector designation |  | Structure number |  | Line |  | Open / Close / Alternate / Earth |  | Key type and location |  | Access / location

## Part 1(a) Continuation
ELP/SAI25/ERAF (Issue 02B) - 11 Nov 24 | Possession ref: | Outage Request Form ref: | Work site ref: |  | Electrical Risk Assessment Form ref: |  | Revision
Part 1
Part 1(a) – Continuation (To be completed by the Electrical Risk Assessor)
Electrical sections, lines affected and associated limits
OLP Along-track limits required |  | Electrical section(s) required to implement the isolation(s) |  | Line(s) affected |  | Electrical section limits
From | To |  |  |  |  | Limit structures:
(Line, Structure Number, Miles, Chains) | (Line, Structure Number, Miles, Chains) |  |  |  |  | From | To
Nominated Earthed Isolation provider:
Is this electrical risk assessment form part of a superseding Earthed Isolation? |  | (Y/N) | If yes, provide reference number of related Electrical Risk Assessment Form(s)

## Part 2(c) OLP Continuation
ELP/SAI25/ERAF (Issue 02B) - 11 Nov 24 |  | Possession ref: | Outage Request Form ref: |  |  | Work site ref: |  | Electrical Risk Assessment Form ref:
Part 2(c) – Electrical Safety Document details (to be completed by the Electrical Risk Assessor)
COSS (OLP) Name | Line(s) / ATF / RC |  |  | OLP along-track limit structures: |  | Issue at Site of Work? | Work content
|  |  |  | From | To
Y
N
N/A
N/A (ESSOW Cat L)
Category B, persons or tools within 2.75m of Live OLE
Category D
Cateogry E

## Appendix A Continuation
ELP/SAI25/ERAF (Issue 02B) - 11 Nov 24 |  | Possession ref: | Outage Request Form ref: |  |  | Work site ref: |  | Electrical Risk Assessment Form ref:
Appendix A - Electrical risk assessment (to be completed by the Electrical Risk Assessor)
Risk assessment
Hazard ID | Residual Electrical Hazard |  |  |  | Electrical Risk Control Measure(s) |  | Inspection required? (Yes or No) | Notes (including the frequency of inspection where required) | Is the risk from this hazard acceptable
| Description | Line | From / At | To |  |  |  |  | Yes | No
14
15
16
17
18
19
20
21
22
23
24
25
26
27
28
29
30
31
32
33
34
35
36
37
Y
N
N/A
N/A (ESSOW Cat L)
Category B, persons or tools within 2.75m of Live OLE
Category D
Cateogry E

## Appendix B Continuation
ELP/SAI25/ERAF (Issue 02B) - 11 Nov 24 |  |  | Possession ref: |  | Outage Request Form ref: |  |  | Work site ref: |  | Electrical Risk Assessment Form ref:
Appendix B - Relevant information for the site walkout Completion of Appendix B is not a requirement for the authorisation of the Electrical Risk Assessment Form
DEP Details
Structure number | Line(s) |  |  | OLE (CME/AE/CJ) | RC (AE) | ATF (CME/AE/CJ) | EAP intact | DEP bond Intact | Comments
ELP/SAI25/ERAF (Issue 02B) - 02 Oct 24 |  |  | Possession ref: |  | Outage Request Form ref: |  |  | Work site ref: |  | Electrical Risk Assessment Form ref:
Bonding affected by the works
Structure number | Line(s) |  |  |  |  | Description |  |  |  |  | Y
N
N/A
N/A (ESSOW Cat L)
Manual lineside Disconnectors to be operated
Disconnector designation |  | Structure number |  | Line |  | Open / Close / Alternate / Earth |  | Key type and location |  | Access / location
Category B, persons or tools within 2.75m of Live OLE
Category D
Cateogry E

## Late Change Authorisation
ELP/SAI25/ERAF (Issue 02B) - 11 Nov 24 |  | Possession ref: |  | Outage Request Form ref: |  | Work site ref: |  | Electrical Risk Assessment Form ref: |  |  | Revision
Change required during implementation (To be authorised by the Electrical Risk Assessor)
List of authorised changes: NOTE: This late change form should only be used as a last resort before cancelling any work taking place.
Original Electrical Risk Assessment specifics |  |  |  | Proposed change |  |  |  |  | Justification for the change
Will there be any on/off tracking or travelling under Live? (If Yes complete below) | [9 empty] | (Y/N)
At the location for On-Tracking, is the approach to track level? | [9 empty] | (Y/N)
At the location for Off-Tracking, is the exit from track level? | [9 empty] | (Y/N)
What is the minimum wire height at the access? (mm) | [7 empty] | Location (ELD, Mileage, OLE Structure Number)
What is the minimum wire height through the distance travelling under LIVE? (mm) | [7 empty] | Location (ELD, Mileage, OLE Structure Number)
Machine Type |  | Machine Supplier |  | 12 Digit Number | ECC reference | MLD (Y/N) | OTP Max Height (mm) |  | Standing Surface Max Height (mm) | Comments
ELR | Lines Affected |  |  |  | Start Mileage |  | End Mileage |  | Start OLE Structure |  | End OLE Structure
Electrification and Plant Maintenance Engineer or Delegated Authority: I confirm that I have reviewed and approve the on/off tracking and/or travelling activies stated above.
Endorsed by: |  |  | Authority number: |  |  |  | Sentinel number: |  |  | Date:
Change approval by ERAS
Approved by ERAS (Name): | [6 empty] | Authority Number:
Change checked by ERAR
Approved by ERAR (Name): | [6 empty] | Authority Number: