|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| ELP/SAI25/SDFIssue 1A11 Nov 2024 |  |  |  |  |
| **FORM** |  | **NETWORK RAIL** |  | **Ref:**  |
| **SDF** |  | **ELECTRICAL CONTROL ROOM** |  |  |
|  |  | **SWITCHING DETAILS FORM** |  |
|  |  |  |  |  |

**\*\*\* ISOLATE \*\*\***

|  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  | **Disconnector****Location** | **Disconnector / CB** | **Person Operating** **Disconnector** | **Telephone/****Contact Details** | **Position** |  | **Time****Operated** |
| Disconnector **NOT** inNormal Position |  |  |  |  |  | ❑ |  |
|  |  |  |  |  | ❑ |  |
|  |  |  |  |  | ❑ |  |
|  |  |  |  |  | ❑ |  |
|  |  |  |  |  | ❑ |  |
|  |  |  |  |  | ❑ |  |
|  |  |  |  |  | ❑ |  |
|  |  |  |  |  | ❑ |  |
| Alternative Feeding |  |  |  |  |  | ❑ |  |
|  |  |  |  |  | ❑ |  |
|  |  |  |  |  | ❑ |  |
|  |  |  |  |  | ❑ |  |
|  |  |  |  |  | ❑ |  |
|  |  |  |  |  | ❑ |  |
|  |  |  |  |  | ❑ |  |
|  |  |  |  |  | ❑ |  |
| Points of Isolation |  |  |  |  |  | ❑ |  |
|  |  |  |  |  | ❑ |  |
|  |  |  |  |  | ❑ |  |
|  |  |  |  |  | ❑ |  |
|  |  |  |  |  | ❑ |  |
|  |  |  |  |  | ❑ |  |
|  |  |  |  |  | ❑ |  |
|  |  |  |  |  | ❑ |  |
|  |  |  |  |  | ❑ |  |
|  |  |  |  |  | ❑ |  |
|  |  |  |  |  | ❑ |  |
|  |  |  |  |  | ❑ |  |
|  |  |  |  |  | ❑ |  |
|  |  |  |  |  | ❑ |  |
|  |  |  |  |  | ❑ |  |
|  |  |  |  |  | ❑ |  |
|  |  |  |  |  | ❑ |  |
|  |  |  |  |  | ❑ |  |
|  |  |  |  |  | ❑ |  |
|  |  |  |  |  | ❑ |  |
|  |  |  |  |  | ❑ |  |
|  |  |  |  |  | ❑ |  |

|  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  | SDF checked by (name) | Signature |
| Form SDF |  | of |  |  |  |  |
|  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| ELP/SAI25/SDFIssue 1A11 Nov 2024 |  |  |  |  |
| **FORM** |  | **NETWORK RAIL** |  | **Ref:**  |
| **SDF** |  | **ELECTRICAL CONTROL ROOM** |  |  |
|  |  | **SWITCHING DETAILS FORM** |  |
|  |  |  |  |  |

**\*\*\* RESTORE \*\*\***

|  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  | **Disconnector****Location** | **Disconnector / CB** | **Person Operating** **Disconnector** | **Telephone/****Contact Details** | **Position** |  | **Time****Operated** |
|  Disconnector **NOT** inNormal Position |  |  |  |  |  | ❑ |  |
|  |  |  |  |  | ❑ |  |
|  |  |  |  |  | ❑ |  |
|  |  |  |  |  | ❑ |  |
|  |  |  |  |  | ❑ |  |
|  |  |  |  |  | ❑ |  |
|  |  |  |  |  | ❑ |  |
|  |  |  |  |  | ❑ |  |
|  Alternative Feeding |  |  |  |  |  | ❑ |  |
|  |  |  |  |  | ❑ |  |
|  |  |  |  |  | ❑ |  |
|  |  |  |  |  | ❑ |  |
|  |  |  |  |  | ❑ |  |
|  |  |  |  |  | ❑ |  |
|  |  |  |  |  | ❑ |  |
|  |  |  |  |  | ❑ |  |
|  Points of Isolation |  |  |  |  |  | ❑ |  |
|  |  |  |  |  | ❑ |  |
|  |  |  |  |  | ❑ |  |
|  |  |  |  |  | ❑ |  |
|  |  |  |  |  | ❑ |  |
|  |  |  |  |  | ❑ |  |
|  |  |  |  |  | ❑ |  |
|  |  |  |  |  | ❑ |  |
|  |  |  |  |  | ❑ |  |
|  |  |  |  |  | ❑ |  |
|  |  |  |  |  | ❑ |  |
|  |  |  |  |  | ❑ |  |
|  |  |  |  |  | ❑ |  |
|  |  |  |  |  | ❑ |  |
|  |  |  |  |  | ❑ |  |
|  |  |  |  |  | ❑ |  |
|  |  |  |  |  | ❑ |  |
|  |  |  |  |  | ❑ |  |
|  |  |  |  |  | ❑ |  |
|  |  |  |  |  | ❑ |  |
|  |  |  |  |  | ❑ |  |
|  |  |  |  |  | ❑ |  |

|  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  | SDF checked by (name) | Signature |
| Form SDF |  | of |  |  |  |  |
|  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |