| NR/L3/ELP/SAI25/X/GBSIP/STED Issue 1 03/06/2023 |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| FORM |  | NETWORK RAIL |  |  |  |  |  |  |
| GBSIP STED |  |  |  |  |  |  |  |  |
| Part 1 |  | SWITCHING, TESTING & EARTHING DETAILS |  |  |  |  |  |  |
| ________________________________________________________________________________________________________ |  |  |  |  |  |  |  |
| To (Authorised Person) |  |  |  | From (Nominated Person) |  |  |  |
| Contact No. |  |  |  | Contact No. |  |  |  |
| Date & Time |  |  |  | Date & Time |  |  |  |
| Signature |  |  |  | Signature |  |  |  |

______________________________________________________________________________________________________

SWITCHING:

Operate the following Lineside disconnector (s) under direction of the Electrical Control Operator and apply Caution Notices

| Location (Structure Number) | Switch Number | Remarks | Switch Operation |
| --- | --- | --- | --- |
|  | / |  |  |
|  | / |  |  |
|  | / |  |  |
|  | / |  |  |
|  | / |  |  |
|  | / |  |  |
|  | / |  |  |
|  | / |  |  |
|  | / |  |  |
|  | / |  |  |

SECURE:

Apply / Remove GBSIP locks under the direction of the Nominated Person.

| GBSIP locks I/D numbers issued: |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

| Location (Structure Number) | Switch Number | Remarks | GBSIP Lock Applied (Y) | Time | GBSIP Lock Removed (Y) | Time |
| --- | --- | --- | --- | --- | --- | --- |
|  | / |  |  |  |  |  |
|  | / |  |  |  |  |  |
|  | / |  |  |  |  |  |
|  | / |  |  |  |  |  |
|  | / |  |  |  |  |  |
|  | / |  |  |  |  |  |
|  | / |  |  |  |  |  |
|  | / |  |  |  |  |  |

STED (continued) ______________________________________________________________________________________________________________________

TEST:

NETWORK RAIL LIFE SAVING RULE “ALWAYS TEST BEFORE APPLYING AN EARTH OR STRAP”

Testing will take place at all Locations where earths are to be applied as specified by Module 7 Clause 10

Testing shall be conducted a minimum of 3m along the conductor from OLE structures and/or in-line insulation where there is sufficient conductor length. Where 3m is not possible a resistive voltage testing device shall be used.

Tick to confirm Authorised Person fully understands these conditions

Permission to Test, Apply Local Earths and Reminder of Live Exposed Equipment.

Date & Time: ………………………………………………………………….

______________________________________________________________________________________________________

EARTHING: - Circuit Main Earths or Additional Earths to be applied or removed as directed by the Nominated Person

| Location (Structure Number) | Line(s) | Circuit Main Earth (CME) Or Additional Earth (AE) | Applied | Removed | Remarks |
| --- | --- | --- | --- | --- | --- |
| Total number of Earths required |  |  |  |  |  |

| Earths shall be counted in and out before cancelling Form B and leaving site: | Total Earths applied |  |
| --- | --- | --- |
|  | Total Earths removed |  |

STED (continued)

ELECTRICAL RISK CONTROL MEASURES– Reminder of Live Exposed (RoLE) equipment to be applied or removed as directed by the Nominated Person

| Location (Structure Number) | Line(s) / ATF / RC | Reminder of Live Exposed Equipment Type | Applied | Removed | Remarks (Static / Flashing light, Inspection Frequency) |
| --- | --- | --- | --- | --- | --- |
| Total number of reminder of live exposed equipment required |  |  |  |  |  |

| RoLE equipment shall be counted in and out before cancelling Form B and leaving site: | Total number of RoLE equipment applied |  |
| --- | --- | --- |
|  | Total number of RoLE equipment removed |  |

ELECTRICAL RISK CONTROL MEASURES– Direct Supervision as directed by the Nominated Person

| Location (Structure Number) | Line(s) / ATF / RC | Residual Electrical Hazard (REH) | Remarks (Duration to Supervise REH etc) |
| --- | --- | --- | --- |

I confirm that all Earths and Electrical Risk Control Measures listed above have been removed and accounted for.

| From (Authorised Person) |  | To (Nominated Person) |  |
| --- | --- | --- | --- |
| Date & Time |  | Date & Time |  |