|  | Network Rail HSEA 13th Floor 40 Melton St London NW1 2EE Tel: 0207 5578601 23rd Nov 2009 |
| --- | --- |

No: IGS 216

Infrastructure Group Safety Bulletin

Working adjacent to live 3rd rail

This bulletin is for the attention of: Staff required to work adjacent to live 3rd Rail When working on lineside cables on the morning of Tuesday 17th November, a lineside cable came into contact with the live conductor rail near Sittingbourne in Kent causing damage to the signalling equipment and to the power supply. In addition to the damage, there were several hours of significant disruption to train operations in the area. There were no staff injuries. A Network Rail formal investigation has commenced. Actions required: All staff whose duties require them to work adjacent to any live rails must understand the arrangements and controls adopted for their safety, this could take the form of a Conductor Rail Isolation Permit, approved insulated tools, protective shrouds and or rail guards. The Controller of Site Safety ( COSS ) should advise and brief you on these arrangements prior to you starting work. If in any doubt, stop work and advise the COSS. All staff are further reminded that work within 300mm of live conductor rails is only possible with a 3rd rail isolation permit or the use of approved insulated tools and equipment including protection shrouds and or guard boards. These details are included in the rule book - GE/RT 8000/DC module DC.

Issued by: Steve Fink Head of HSEA (acting) steve.fink@networkrail.co.uk

# Comments

Suggest remove ‘home-made’ some bright spark will say “I bought this and therefore it is not home-made”

Paragraph re-arranged and simplified