

**PRO TEMP MOBILE SOLAR LIGHTING COLUMN**

**TECHNICAL DATA SHEET**

 

**Technical Specification**

|  |  |
| --- | --- |
| PV Modules | 40W – 200W (standard 40W) |
| LED Lighting | 5W, 10W, 16W, 30W Samsung LED |
| Lumens output  | 650 to 3900 lumens |
| Micro Controller  | Intelligent programmable MPPT controller |
| Battery system | LiFePO4, 18Ah to 52 Ah |
| Base Support | 500kg Concrete Base with forklift slots  |
| Wind Speed | Up to 112 Km/h |